**2022/2023**

**Laguna LL To Do List**

**(Field Maintenance)**

1. **Cutlip Field: (Softball)**
   1. Backstop Fencing Separations
   2. Fencing gaps 3rd Base Side Foul line
   3. Roof on Softball Press box/Storage Shed
   4. Netting reattached Softball Batting Cages
   5. Mesquite Trees above 1st Base Grandstand / Storage Shed/ Backstop needs to be trimmed back and away from structures/lines
   6. Finish cleaning around external rocks/ remove Dead Palm
2. **Adams Field: (CP Baseball)**
   1. Rehang Mower/Equipment Entrance Gate
   2. Scrape Infield (sooner than later) and maintain
   3. Move Electrical Conduit back behind new backstop
   4. Finish New Backstop
   5. Remove Remnants of Old Press Box and Erect/Build New One
   6. Clean out/ Organize Storage/Equipment room behind 1st base dugout
   7. Reattach/Replace/Repair Dugout Roofing 3rd Base Side
3. **Legammaro Field: (Jr.’s Baseball)**
   1. Finish Scrapping Infield (about 75% Done) and maintain
   2. New Water Dolly/Cart
   3. Repair/Replace Electrical in Press Box (problematic last year)
   4. Repair/Replace Fencing 1st Base Bullpen
   5. Repair/Replace/Remove Foul Ball netting on Base Fencing
4. **Gonzalez Field (Minor’s/Major’s Baseball)**
   1. ~~Batter’s Eye (new last year) getting tore up and just draped over fencing (needs new zip ties)~~
   2. Repair/Replace Fencing 1st Base Bullpen
   3. Repair/Replace Doors on Storage closets both dugouts
   4. Mesquite Trees behind backstop needs to be trimmed back away from structures/lines
5. **Daffron Field: (T-ball)**
   1. Repair/Replace Emergency Entrance Fencing
   2. Scrape Baselines, Batter’s Box, and Pitching Circle
6. **Common Areas:**
   1. BBQ Shack Roof Repair/Replace
   2. Rehang T-ball/Board Member Entrance Gate
   3. Rehang General Entrance Gate
   4. Roof/Facia Boards Restrooms/Storage area
   5. Awning Replacement between Concession/Restroom
7. **General Items (miscellaneous):**
   1. Upkeep mowing/weed eating
   2. Maintain Parking areas including adjacent parking
   3. Light Fixture replacement Storage Room
   4. Roof Repair above Ice machine
   5. Remove old mowers/equipment that isn’t in use any longer or operable
   6. Remove/Throw away flailing banners
   7. Throw away old hoses in disrepair
   8. Throw away old equipment in disrepair (i.e., Line Chalkers, Rakes, hoes, etc.)
   9. New Latch for Ball Storage Cabinet
   10. Fire X into Septic System
   11. Oil Changes on running/current mowers (where/what is schedule for ZTR)
   12. Spread/remove remaining asphalt outside Softball Center Field